NEXARA

Integrated Management System

Emergency Equipment Inspection Record

FSO 2005 | BS 5306

| Document Number: | FEM-FRM-006 |
| --- | --- |
| Version: | 1.0 |
| Date: | [DD/MM/YYYY] |
| Owner: | [Health & Safety Manager] |
| Approved By: | [Responsible Person] |
| Classification: | Confidential |

Revision History

| Version | Date | Description | Author | Approved By |
| --- | --- | --- | --- | --- |
| 1.0 | [DD/MM/YYYY] | Initial Issue | [Author Name] | [Approver Name] |

# Inspection Details

| Field | Details |
| --- | --- |
| Premises | [ ] |
| Inspection Date | [DD/MM/YYYY] |
| Inspector Name | [ ] |
| Inspection Type | [Monthly / Quarterly / Annual Service] |

# Equipment Inspection Log

| Equipment ID | Type | Location | Last Service | Next Service Due | Result (P/F/A) | Defects Found | Action Taken |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | [Extinguisher/AED/First Aid/Spill Kit] |  | [DD/MM/YY] | [DD/MM/YY] |  |  |  |

# Monthly Inspection Checklist — Fire Extinguishers

| Check Item | OK Y/N | Notes |
| --- | --- | --- |
| In correct location? |  |  |
| Clearly visible? |  |  |
| Access unobstructed? |  |  |
| Pressure gauge in green zone? |  |  |
| Pin and tamper seal intact? |  |  |
| No physical damage? |  |  |
| Hose/nozzle in good condition? |  |  |
| Service label current? |  |  |
| Correct type for hazards in area? |  |  |

# Monthly Inspection Checklist — AED/Defibrillator

| Check Item | OK Y/N | Notes |
| --- | --- | --- |
| Unit accessible? |  |  |
| Status indicator light green? |  |  |
| Pads within expiry date? |  |  |
| Battery charge adequate? |  |  |
| Cabinet secure and dry? |  |  |

# Sign-Off

|  | Details |
| --- | --- |
| Inspector Name | [ ] |
| Inspector Signature |  |
| Date | [DD/MM/YYYY] |