NEXARA

Integrated Management System

Energy Management Action Plan

ISO 50001:2018 Clause 6.2

| Document Number: | PLN-005 |
| --- | --- |
| Version: | 1.0 |
| Date: | [DD/MM/YYYY] |
| Owner: | [Energy Manager] |
| Approved By: | [Managing Director] |
| Classification: | Confidential |

Revision History

| Version | Date | Description | Author | Approved By |
| --- | --- | --- | --- | --- |
| 1.0 | [DD/MM/YYYY] | Initial Issue | [Author Name] | [Approver Name] |

# 1. Purpose

This Energy Management Action Plan identifies significant energy uses, establishes energy performance indicators, and defines actions to achieve energy objectives at [COMPANY NAME].

| SEU | Energy Type | Annual Consumption | % of Total | EnPI | Baseline |
| --- | --- | --- | --- | --- | --- |
| HVAC Systems | Electricity + Gas | 180 MWh | 40% | kWh per m² per HDD | 45 kWh/m²/HDD |
| Production Machinery | Electricity | 120 MWh | 27% | kWh per unit produced | 2.4 kWh/unit |
| Lighting | Electricity | 55 MWh | 12% | kWh per m² per year | 22 kWh/m² |
| Compressed Air | Electricity | 45 MWh | 10% | kWh per m³ at 7 bar | 0.12 kWh/m³ |
| Transport/Fleet | Diesel | 50 MWh eq | 11% | litres per 100km | 8.5 L/100km |

| Action | SEU | Expected Saving | Investment | Payback | Owner | Timeline | Status |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Install LED lighting throughout | Lighting | 35 MWh/yr (64%) | £25,000 | 2.1 years | [Facilities Mgr] | Q2 2026 | Planned |
| Optimise HVAC schedules & setpoints | HVAC | 20 MWh/yr (11%) | £5,000 | 0.7 years | [Facilities Mgr] | Q1 2026 | In Progress |
| Fix compressed air leaks | Comp Air | 10 MWh/yr (22%) | £3,000 | 0.9 years | [Maint Mgr] | Q1 2026 | In Progress |
| Variable speed drives on pumps | Production | 15 MWh/yr (13%) | £18,000 | 3.5 years | [Eng Mgr] | Q3 2026 | Planned |
| Driver efficiency training | Transport | 5 MWh eq/yr (10%) | £2,000 | 1.2 years | [Fleet Mgr] | Q2 2026 | Planned |
| Solar PV installation (50kWp) | All | 45 MWh/yr | £40,000 | 5.2 years | [Facilities Mgr] | Q4 2026 | Feasibility |

# 4. Monitoring Plan

Energy consumption is monitored through:

• Main utility meters: Monthly readings logged in Nexara IMS Energy module
• Sub-meters on SEUs: Weekly/daily readings for key equipment
• EnPI calculation: Monthly, compared against baseline
• Energy review meetings: Quarterly
• Management review reporting: Bi-annually