NEXARA

Integrated Management System

Physical & Environmental Security Procedure

ISO/IEC 27001:2022 Annex A.7

| Document Number: | PRO-027 |
| --- | --- |
| Version: | 1.0 |
| Date: | [DD/MM/YYYY] |
| Owner: | [Facilities Manager] |
| Approved By: | [CISO] |
| Classification: | Confidential |

Revision History

| Version | Date | Description | Author | Approved By |
| --- | --- | --- | --- | --- |
| 1.0 | [DD/MM/YYYY] | Initial Issue | [Author Name] | [Approver Name] |

# 1. Purpose

To prevent unauthorised physical access, damage, and interference to [COMPANY NAME] information and information processing facilities.

# 2. Security Perimeters

a) External perimeter: Fencing, locks, CCTV, intrusion detection
b) Building entry: Access-controlled doors (card/biometric)
c) Secure areas (server rooms, comms rooms): Dual-factor access, logged entry
d) Restricted areas (executive offices, R&D): Additional access restrictions

# 3. Entry Controls

- All staff must wear visible ID badges at all times

- Visitors must sign in at reception, be issued a visitor badge, and be escorted at all times

- Delivery personnel escorted in loading areas only

- Access logs reviewed monthly for anomalies

- Lost access cards reported immediately and deactivated

# 4. Secure Areas

Server rooms and comms rooms:

a) Access restricted to authorised IT personnel only
b) Environmental controls: temperature 18-24°C, humidity 40-60%
c) Fire suppression: gas-based (FM200 or equivalent)
d) UPS and generator backup for continuous power
e) Water leak detection
f) No food, drink, or combustible materials permitted

# 5. Clear Desk & Clear Screen

- Confidential/restricted documents locked away when unattended

- Computer screens locked when leaving desk (Win+L / Ctrl+Cmd+Q)

- Automatic screen lock after 5 minutes of inactivity

- Printers: collect printouts immediately, use secure print where available

- Whiteboards cleared after meetings

# 6. Equipment Disposal

All IT equipment must be securely disposed of in compliance with WEEE regulations:

a) Hard drives: Degaussed and physically destroyed (NIST SP 800-88)
b) SSDs: Cryptographic erasure + physical destruction
c) Paper: Cross-cut shredding (DIN 66399 Level P-4 minimum)
d) Disposal certificate obtained from approved vendor