NEXARA

Integrated Management System

Energy Review Procedure

ISO 50001:2018 Clause 6.3

| Document Number: | PRO-058 |
| --- | --- |
| Version: | 1.0 |
| Date: | [DD/MM/YYYY] |
| Owner: | [Energy Manager] |
| Approved By: | [Managing Director] |
| Classification: | Confidential |

Revision History

| Version | Date | Description | Author | Approved By |
| --- | --- | --- | --- | --- |
| 1.0 | [DD/MM/YYYY] | Initial Issue | [Author Name] | [Approver Name] |

# 1. Purpose

To define the process for conducting energy reviews to analyse energy use and consumption, identify significant energy uses (SEUs), and determine energy performance improvement opportunities.

# 2. Energy Data Collection

Data collected and analysed:
a) Energy sources: electricity, natural gas, diesel, LPG, renewables
b) Past and current energy use and consumption (minimum 12 months)
c) Relevant variables affecting SEUs (production volume, weather, occupancy)
d) Energy performance vs. previous periods

# 3. Significant Energy Uses

Identification criteria: An energy use is significant if it accounts for:
a) >10% of total energy consumption, OR
b) Has substantial potential for energy performance improvement

For each SEU, determine:
- Current energy performance
- Relevant variables affecting performance
- Persons whose actions significantly affect energy performance
- Energy performance indicators (EnPIs) and baselines

# 4. Improvement Opportunities

Opportunities are identified through:
a) Energy audits (ISO 50002 methodology)
b) Sub-metering data analysis
c) Benchmarking against industry/best practice
d) Technology reviews
e) Staff suggestions

Opportunities are prioritised using energy savings potential, capital cost, payback period, and strategic alignment.

# 5. Energy Review Output

The energy review produces:
1. Updated energy balance (Sankey diagram)
2. Updated SEU register
3. EnPIs and baselines
4. Prioritised list of improvement opportunities
5. Recommendations for energy objectives and targets