NEXARA

Integrated Management System

Energy Performance Monitoring Procedure

ISO 50001:2018 Clause 9.1

| Document Number: | PRO-059 |
| --- | --- |
| Version: | 1.0 |
| Date: | [DD/MM/YYYY] |
| Owner: | [Energy Manager] |
| Approved By: | [Managing Director] |
| Classification: | Confidential |

Revision History

| Version | Date | Description | Author | Approved By |
| --- | --- | --- | --- | --- |
| 1.0 | [DD/MM/YYYY] | Initial Issue | [Author Name] | [Approver Name] |

# 1. Purpose

To define the monitoring, measurement, analysis, and evaluation of energy performance, significant energy uses, and energy performance indicators.

| Parameter | Method | Frequency | Responsible | Target/Baseline |
| --- | --- | --- | --- | --- |
| Total site electricity | Main meter (AMR) | Half-hourly | Energy Manager | kWh/year |
| Total site gas | Main meter | Daily | Energy Manager | kWh/year |
| SEU 1: HVAC | Sub-meter | Half-hourly | Facilities | kWh/m²/yr |
| SEU 2: Production line | Sub-meter | Hourly | Production | kWh/unit produced |
| SEU 3: Compressed air | Sub-meter + pressure | Hourly | Maintenance | kWh/m³ @ 7 bar |
| Renewable generation | Inverter meter | Daily | Energy Manager | kWh generated |

# 3. Energy Performance Indicators (EnPIs)

EnPI 1: Total energy intensity (kWh per unit of production)
EnPI 2: Building energy intensity (kWh per m² floor area)
EnPI 3: Specific energy consumption per SEU

EnPIs are compared to energy baselines to evaluate energy performance improvement. Statistical methods (regression analysis) are used to normalise for relevant variables.

# 4. Reporting

Monthly energy dashboard to management
Quarterly EnPI report to energy committee
Annual energy performance report to management review