NEXARA

Integrated Management System

Calibration & Inspection Equipment Register

ISO 9001:2015 Clause 7.1.5

| Document Number: | REG-003 |
| --- | --- |
| Version: | 1.0 |
| Date: | [DD/MM/YYYY] |
| Owner: | [Quality Manager] |
| Approved By: | [Quality Manager] |
| Classification: | Confidential |

Revision History

| Version | Date | Description | Author | Approved By |
| --- | --- | --- | --- | --- |
| 1.0 | [DD/MM/YYYY] | Initial Issue | [Author Name] | [Approver Name] |

# 1. Purpose

This register records all monitoring and measuring equipment requiring calibration or verification at [COMPANY NAME], ensuring traceability and currency of calibration status.

| Equip ID | Description | Serial No | Location | Frequency | Last Cal | Next Due | Standard | Provider | Cert No | Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CAL-001 | Digital Caliper 0-150mm | SN-24891 | QC Lab | 12 months | 15/01/2026 | 15/01/2027 | ISO 17025 | [Cal Provider] | CERT-2026-001 | Current |
| CAL-002 | Torque Wrench 10-100Nm | SN-55123 | Workshop | 6 months | 01/12/2025 | 01/06/2026 | BS EN ISO 6789 | [Cal Provider] | CERT-2025-089 | Current |
| CAL-003 | Temperature Logger | SN-78456 | Warehouse | 12 months | 20/02/2026 | 20/02/2027 | IEC 60751 | [Cal Provider] | CERT-2026-015 | Current |
| CAL-004 | Weighing Scale 0-30kg | SN-33201 | Goods In | 6 months | 10/11/2025 | 10/05/2026 | OIML R76 | [Cal Provider] | CERT-2025-102 | Due Soon |
| CAL-005 | Sound Level Meter | SN-99102 | H&S | 12 months | 05/03/2025 | 05/03/2026 | IEC 61672 | [Cal Provider] | CERT-2025-034 | Overdue |